## DMo
Normunit | CZ | Value | Msr | Note
Area-ft2-BA | Any | 2480
Area-ft2 | Any | 2174.56 | Wall Insulation
Area-ft2 | Any | 2480 | Ceiling Insulation
kWhreduced | Any | 800 | Refrigerator/Freezer
Cap-Tons | Any | 3.5 | SEER Rated AC/HP | Using sizing capacity from pre-existing base prototype

## MFm
Normunit | CZ | Value | Msr | BldgVint | Note
Area-ft2-BA | Any | 24580
Area-ft2 | Any | 5747.061 | Wall Insulation
Area-ft2 | Any | 24580 | Ceiling Insulation
Cap-Tons | CZ01 | 19.45 | PTAC / PTHP | Ex
Cap-Tons | CZ02 | 22.32 | PTAC / PTHP | Ex
Cap-Tons | CZ03 | 24.49 | PTAC / PTHP | Ex
Cap-Tons | CZ04 | 23.49 | PTAC / PTHP | Ex
Cap-Tons | CZ05 | 23.88 | PTAC / PTHP | Ex
Cap-Tons | CZ06 | 23.79 | PTAC / PTHP | Ex
Cap-Tons | CZ07 | 22.48 | PTAC / PTHP | Ex
Cap-Tons | CZ08 | 27.59 | PTAC / PTHP | Ex
Cap-Tons | CZ09 | 35.33 | PTAC / PTHP | Ex
Cap-Tons | CZ10 | 31.18 | PTAC / PTHP | Ex
Cap-Tons | CZ11 | 36.97 | PTAC / PTHP | Ex
Cap-Tons | CZ12 | 29.91 | PTAC / PTHP | Ex
Cap-Tons | CZ13 | 44.48 | PTAC / PTHP | Ex
Cap-Tons | CZ14 | 36.1 | PTAC / PTHP | Ex
Cap-Tons | CZ15 | 46.7 | PTAC / PTHP | Ex
Cap-Tons | CZ16 | 37.62 | PTAC / PTHP | Ex
Cap-Tons | CZ01 | 19.43 | PTAC / PTHP | New
Cap-Tons | CZ02 | 13.44 | PTAC / PTHP | New
Cap-Tons | CZ03 | 22.69 | PTAC / PTHP | New
Cap-Tons | CZ04 | 13.62 | PTAC / PTHP | New
Cap-Tons | CZ05 | 20.22 | PTAC / PTHP | New
Cap-Tons | CZ06 | 13.48 | PTAC / PTHP | New
Cap-Tons | CZ07 | 15.22 | PTAC / PTHP | New
Cap-Tons | CZ08 | 15.68 | PTAC / PTHP | New
Cap-Tons | CZ09 | 18.98 | PTAC / PTHP | New
Cap-Tons | CZ10 | 17.15 | PTAC / PTHP | New
Cap-Tons | CZ11 | 22.04 | PTAC / PTHP | New
Cap-Tons | CZ12 | 16.99 | PTAC / PTHP | New
Cap-Tons | CZ13 | 24.01 | PTAC / PTHP | New
Cap-Tons | CZ14 | 18.54 | PTAC / PTHP | New
Cap-Tons | CZ15 | 31.11 | PTAC / PTHP | New
Cap-Tons | CZ16 | 32.06 | PTAC / PTHP | New
kWhreduced | Any | 9600 | Refrigerator/Freezer
Cap-Tons | CZ01 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ02 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ03 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ04 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ05 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ06 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ07 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ08 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ09 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ10 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ11 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ12 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ13 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ14 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ15 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ16 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype

## SFm
Normunit | CZ | Value | Msr | BldgVint | Note
Area-ft2-BA | CZ01 | 4320
Area-ft2-BA | CZ02 | 4320
Area-ft2-BA | CZ03 | 4320
Area-ft2-BA | CZ04 | 4320
Area-ft2-BA | CZ05 | 4320
Area-ft2-BA | CZ06 | 4500
Area-ft2-BA | CZ07 | 4500
Area-ft2-BA | CZ08 | 4500
Area-ft2-BA | CZ09 | 3850
Area-ft2-BA | CZ10 | 4140
Area-ft2-BA | CZ11 | 3570
Area-ft2-BA | CZ12 | 3570
Area-ft2-BA | CZ13 | 3570
Area-ft2-BA | CZ14 | 3250
Area-ft2-BA | CZ15 | 3250
Area-ft2-BA | CZ16 | 3800
Area-ft2 | CZ01 | 2884 | Wall Insulation
Area-ft2 | CZ02 | 2884 | Wall Insulation
Area-ft2 | CZ03 | 2884 | Wall Insulation
Area-ft2 | CZ04 | 2884 | Wall Insulation
Area-ft2 | CZ05 | 2884 | Wall Insulation
Area-ft2 | CZ06 | 3060 | Wall Insulation
Area-ft2 | CZ07 | 3060 | Wall Insulation
Area-ft2 | CZ08 | 3060 | Wall Insulation
Area-ft2 | CZ09 | 2454 | Wall Insulation
Area-ft2 | CZ10 | 2718 | Wall Insulation
Area-ft2 | CZ11 | 2194 | Wall Insulation
Area-ft2 | CZ12 | 2194 | Wall Insulation
Area-ft2 | CZ13 | 2194 | Wall Insulation
Area-ft2 | CZ14 | 1893 | Wall Insulation
Area-ft2 | CZ15 | 1893 | Wall Insulation
Area-ft2 | CZ16 | 2403 | Wall Insulation
Area-ft2 | CZ01 | 2910 | Ceiling Insulation
Area-ft2 | CZ02 | 2910 | Ceiling Insulation
Area-ft2 | CZ03 | 2910 | Ceiling Insulation
Area-ft2 | CZ04 | 2910 | Ceiling Insulation
Area-ft2 | CZ05 | 2910 | Ceiling Insulation
Area-ft2 | CZ06 | 2910 | Ceiling Insulation
Area-ft2 | CZ07 | 2910 | Ceiling Insulation
Area-ft2 | CZ08 | 2910 | Ceiling Insulation
Area-ft2 | CZ09 | 2910 | Ceiling Insulation
Area-ft2 | CZ10 | 2910 | Ceiling Insulation
Area-ft2 | CZ11 | 2910 | Ceiling Insulation
Area-ft2 | CZ12 | 2910 | Ceiling Insulation
Area-ft2 | CZ13 | 2910 | Ceiling Insulation
Area-ft2 | CZ14 | 2910 | Ceiling Insulation
Area-ft2 | CZ15 | 2910 | Ceiling Insulation
Area-ft2 | CZ16 | 2910 | Ceiling Insulation
Cap-Tons | CZ01 | 3.4 | PTAC / PTHP | Ex
Cap-Tons | CZ02 | 6.3 | PTAC / PTHP | Ex
Cap-Tons | CZ03 | 6.8 | PTAC / PTHP | Ex
Cap-Tons | CZ04 | 6.2 | PTAC / PTHP | Ex
Cap-Tons | CZ05 | 7.1 | PTAC / PTHP | Ex
Cap-Tons | CZ06 | 6.1 | PTAC / PTHP | Ex
Cap-Tons | CZ07 | 6.3 | PTAC / PTHP | Ex
Cap-Tons | CZ08 | 6.6 | PTAC / PTHP | Ex
Cap-Tons | CZ09 | 8.5 | PTAC / PTHP | Ex
Cap-Tons | CZ10 | 4.6 | PTAC / PTHP | Ex
Cap-Tons | CZ11 | 4.1 | PTAC / PTHP | Ex
Cap-Tons | CZ12 | 4.1 | PTAC / PTHP | Ex
Cap-Tons | CZ13 | 4.5 | PTAC / PTHP | Ex
Cap-Tons | CZ14 | 3.5 | PTAC / PTHP | Ex
Cap-Tons | CZ15 | 4.5 | PTAC / PTHP | Ex
Cap-Tons | CZ16 | 4.3 | PTAC / PTHP | Ex
Cap-Tons | CZ01 | 1.7 | PTAC / PTHP | New
Cap-Tons | CZ02 | 1.6 | PTAC / PTHP | New
Cap-Tons | CZ03 | 2.8 | PTAC / PTHP | New
Cap-Tons | CZ04 | 1.8 | PTAC / PTHP | New
Cap-Tons | CZ05 | 2.8 | PTAC / PTHP | New
Cap-Tons | CZ06 | 2.3 | PTAC / PTHP | New
Cap-Tons | CZ07 | 2.9 | PTAC / PTHP | New
Cap-Tons | CZ08 | 2.8 | PTAC / PTHP | New
Cap-Tons | CZ09 | 3.4 | PTAC / PTHP | New
Cap-Tons | CZ10 | 2.1 | PTAC / PTHP | New
Cap-Tons | CZ11 | 2.4 | PTAC / PTHP | New
Cap-Tons | CZ12 | 2.3 | PTAC / PTHP | New
Cap-Tons | CZ13 | 2.5 | PTAC / PTHP | New
Cap-Tons | CZ14 | 1.7 | PTAC / PTHP | New
Cap-Tons | CZ15 | 2.6 | PTAC / PTHP | New
Cap-Tons | CZ16 | 3.4 | PTAC / PTHP | New
Household | Any | 2 | Whole House Fan
kWhreduced | Any | 800 | Refrigerator/Freezer
Cap-Tons | CZ01 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ02 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ03 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ04 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ05 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ06 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ07 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ08 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ09 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ10 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ11 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ12 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ13 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ14 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ15 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ16 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype

## Com
BldgType | BldgLoc | Normunit | Value | BldgVint
Asm |  | Area-ft2-BA | 100002.1
ECC |  | Area-ft2-BA | 299999.6
EPr |  | Area-ft2-BA | 50000.14
ERC |  | Area-ft2-BA | 1920.017
ESe |  | Area-ft2-BA | 149998.6
EUn |  | Area-ft2-BA | 930201.4
Hsp |  | Area-ft2-BA | 235501
Htl |  | Area-ft2-BA | 139998.9
MBT |  | Area-ft2-BA | 199999.2
MLI |  | Area-ft2-BA | 100001.1
Mtl |  | Area-ft2-BA | 30000.07
Nrs |  | Area-ft2-BA | 60654.58
OfL |  | Area-ft2-BA | 174998.9
OfS |  | Area-ft2-BA | 10000.08
RFF |  | Area-ft2-BA | 2500.053
RSD |  | Area-ft2-BA | 5599.957
Rt3 |  | Area-ft2-BA | 120000.5
RtL |  | Area-ft2-BA | 129997
RtS |  | Area-ft2-BA | 7999.929
SCn |  | Area-ft2-BA | 250000.3